{"text_format":"3","workbook":"xlsx","n_sheets":7,"sheets":["F-15-1 分部分项工程清单与计价表","F-15-2 施工技术措施项目清单与计价表","F-19 施工组织措施项目清单与计价表","F-20 其他项目清单与计价表","F-21 暂列金额明细表","规费、税金项目计价表","主要材料价格表(横)"],"read":"whole","date_system":"1900"}

{"sheet":"F-15-1 分部分项工程清单与计价表","index":0,"n_rows":306,"n_cols":15,"rows_kept":306,"merged":[[0,0,0,14],[1,0,1,3],[1,4,1,10],[1,11,1,14],[2,0,5,0],[2,1,5,1],[2,2,5,2],[2,3,5,4],[2,5,5,5],[2,6,5,6],[2,7,2,13],[2,14,5,14],[3,7,5,7],[3,8,5,8],[3,9,3,13],[4,9,4,11],[4,12,5,12],[4,13,5,13],[5,10,5,11],[6,3,6,4],[6,10,6,11],[7,3,7,4],[7,10,7,11],[8,3,8,4],[8,10,8,11],[9,3,9,4],[9,10,9,11],[10,3,10,4],[10,10,10,11],[11,3,11,4],[11,10,11,11],[12,3,12,4],[12,10,12,11],[13,3,13,4],[13,10,13,11],[14,3,14,4],[14,10,14,11],[15,0,15,14],[16,0,16,14],[17,0,17,3],[17,4,17,10],[17,11,17,14],[18,0,21,0],[18,1,21,1],[18,2,21,2],[18,3,21,4],[18,5,21,5],[18,6,21,6],[18,7,18,13],[18,14,21,14],[19,7,21,7],[19,8,21,8],[19,9,19,13],[20,9,20,11],[20,12,21,12],[20,13,21,13],[21,10,21,11],[22,3,22,4],[22,10,22,11],[23,3,23,4],[23,10,23,11],[24,3,24,4],[24,10,24,11],[25,3,25,4],[25,10,25,11],[26,3,26,4],[26,10,26,11],[27,3,27,4],[27,10,27,11],[28,3,28,4],[28,10,28,11],[29,0,29,14],[30,0,30,14],[31,0,31,3],[31,4,31,10],[31,11,31,14],[32,0,35,0],[32,1,35,1],[32,2,35,2],[32,3,35,4],[32,5,35,5],[32,6,35,6],[32,7,32,13],[32,14,35,14],[33,7,35,7],[33,8,35,8],[33,9,33,13],[34,9,34,11],[34,12,35,12],[34,13,35,13],[35,10,35,11],[36,3,36,4],[36,10,36,11],[37,3,37,4],[37,10,37,11],[38,3,38,4],[38,10,38,11],[39,3,39,4],[39,10,39,11],[40,3,40,4],[40,10,40,11],[41,3,41,4],[41,10,41,11],[42,3,42,4],[42,10,42,11],[43,0,43,14],[44,0,44,14],[45,0,45,3],[45,4,45,10],[45,11,45,14],[46,0,49,0],[46,1,49,1],[46,2,49,2],[46,3,49,4],[46,5,49,5],[46,6,49,6],[46,7,46,13],[46,14,49,14],[47,7,49,7],[47,8,49,8],[47,9,47,13],[48,9,48,11],[48,12,49,12],[48,13,49,13],[49,10,49,11],[50,3,50,4],[50,10,50,11],[51,3,51,4],[51,10,51,11],[52,3,52,4],[52,10,52,11],[53,3,53,4],[53,10,53,11],[54,3,54,4],[54,10,54,11],[55,3,55,4],[55,10,55,11],[56,3,56,4],[56,10,56,11],[57,0,57,14],[58,0,58,14],[59,0,59,3],[59,4,59,10],[59,11,59,14],[60,0,63,0],[60,1,63,1],[60,2,63,2],[60,3,63,4],[60,5,63,5],[60,6,63,6],[60,7,60,13],[60,14,63,14],[61,7,63,7],[61,8,63,8],[61,9,61,13],[62,9,62,11],[62,12,63,12],[62,13,63,13],[63,10,63,11],[64,3,64,4],[64,10,64,11],[65,3,65,4],[65,10,65,11],[66,3,66,4],[66,10,66,11],[67,3,67,4],[67,10,67,11],[68,3,68,4],[68,10,68,11],[69,3,69,4],[69,10,69,11],[70,3,70,4],[70,10,70,11],[71,3,71,4],[71,10,71,11],[72,3,72,4],[72,10,72,11],[73,0,73,14],[74,0,74,14],[75,0,75,3],[75,4,75,10],[75,11,75,14],[76,0,79,0],[76,1,79,1],[76,2,79,2],[76,3,79,4],[76,5,79,5],[76,6,79,6],[76,7,76,13],[76,14,79,14],[77,7,79,7],[77,8,79,8],[77,9,77,13],[78,9,78,11],[78,12,79,12],[78,13,79,13],[79,10,79,11],[80,3,80,4],[80,10,80,11],[81,3,81,4],[81,10,81,11],[82,3,82,4],[82,10,82,11],[83,3,83,4],[83,10,83,11],[84,3,84,4],[84,10,84,11],[85,3,85,4],[85,10,85,11],[86,3,86,4],[86,10,86,11],[87,0,87,14],[88,0,88,14],[89,0,89,3],[89,4,89,10],[89,11,89,14],[90,0,93,0],[90,1,93,1],[90,2,93,2],[90,3,93,4],[90,5,93,5],[90,6,93,6],[90,7,90,13],[90,14,93,14],[91,7,93,7],[91,8,93,8],[91,9,91,13],[92,9,92,11],[92,12,93,12],[92,13,93,13],[93,10,93,11],[94,3,94,4],[94,10,94,11],[95,3,95,4],[95,10,95,11],[96,3,96,4],[96,10,96,11],[97,3,97,4],[97,10,97,11],[98,3,98,4],[98,10,98,11],[99,3,99,4],[99,10,99,11],[100,3,100,4],[100,10,100,11],[101,0,101,14],[102,0,102,14],[103,0,103,3],[103,4,103,10],[103,11,103,14],[104,0,107,0],[104,1,107,1],[104,2,107,2],[104,3,107,4],[104,5,107,5],[104,6,107,6],[104,7,104,13],[104,14,107,14],[105,7,107,7],[105,8,107,8],[105,9,105,13],[106,9,106,11],[106,12,107,12],[106,13,107,13],[107,10,107,11],[108,3,108,4],[108,10,108,11],[109,3,109,4],[109,10,109,11],[110,3,110,4],[110,10,110,11],[111,3,111,4],[111,10,111,11],[112,3,112,4],[112,10,112,11],[113,0,113,14],[114,0,114,14],[115,0,115,3],[115,4,115,10],[115,11,115,14],[116,0,119,0],[116,1,119,1],[116,2,119,2],[116,3,119,4],[116,5,119,5],[116,6,119,6],[116,7,116,13],[116,14,119,14],[117,7,119,7],[117,8,119,8],[117,9,117,13],[118,9,118,11],[118,12,119,12],[118,13,119,13],[119,10,119,11],[120,3,120,4],[120,10,120,11],[121,3,121,4],[121,10,121,11],[122,3,122,4],[122,10,122,11],[123,3,123,4],[123,10,123,11],[124,3,124,4],[124,10,124,11],[125,3,125,4],[125,10,125,11],[126,0,126,14],[127,0,127,14],[128,0,128,3],[128,4,128,10],[128,11,128,14],[129,0,132,0],[129,1,132,1],[129,2,132,2],[129,3,132,4],[129,5,132,5],[129,6,132,6],[129,7,129,13],[129,14,132,14],[130,7,132,7],[130,8,132,8],[130,9,130,13],[131,9,131,11],[131,12,132,12],[131,13,132,13],[132,10,132,11],[133,3,133,4],[133,10,133,11],[134,3,134,4],[134,10,134,11],[135,3,135,4],[135,10,135,11],[136,3,136,4],[136,10,136,11],[137,3,137,4],[137,10,137,11],[138,3,138,4],[138,10,138,11],[139,3,139,4],[139,10,139,11],[140,0,140,14],[141,0,141,14],[142,0,142,3],[142,4,142,10],[142,11,142,14],[143,0,146,0],[143,1,146,1],[143,2,146,2],[143,3,146,4],[143,5,146,5],[143,6,146,6],[143,7,143,13],[143,14,146,14],[144,7,146,7],[144,8,146,8],[144,9,144,13],[145,9,145,11],[145,12,146,12],[145,13,146,13],[146,10,146,11],[147,3,147,4],[147,10,147,11],[148,3,148,4],[148,10,148,11],[149,3,149,4],[149,10,149,11],[150,3,150,4],[150,10,150,11],[151,3,151,4],[151,10,151,11],[152,3,152,4],[152,10,152,11],[153,3,153,4],[153,10,153,11],[154,3,154,4],[154,10,154,11],[155,0,155,14],[156,0,156,14],[157,0,157,3],[157,4,157,10],[157,11,157,14],[158,0,161,0],[158,1,161,1],[158,2,161,2],[158,3,161,4],[158,5,161,5],[158,6,161,6],[158,7,158,13],[158,14,161,14],[159,7,161,7],[159,8,161,8],[159,9,159,13],[160,9,160,11],[160,12,161,12],[160,13,161,13],[161,10,161,11],[162,3,162,4],[162,10,162,11],[163,3,163,4],[163,10,163,11],[164,3,164,4],[164,10,164,11],[165,3,165,4],[165,10,165,11],[166,3,166,4],[166,10,166,11],[167,3,167,4],[167,10,167,11],[168,3,168,4],[168,10,168,11],[169,3,169,4],[169,10,169,11],[170,3,170,4],[170,10,170,11],[171,0,171,14],[172,0,172,14],[173,0,173,3],[173,4,173,10],[173,11,173,14],[174,0,177,0],[174,1,177,1],[174,2,177,2],[174,3,177,4],[174,5,177,5],[174,6,177,6],[174,7,174,13],[174,14,177,14],[175,7,177,7],[175,8,177,8],[175,9,175,13],[176,9,176,11],[176,12,177,12],[176,13,177,13],[177,10,177,11],[178,3,178,4],[178,10,178,11],[179,3,179,4],[179,10,179,11],[180,3,180,4],[180,10,180,11],[181,3,181,4],[181,10,181,11],[182,3,182,4],[182,10,182,11],[183,3,183,4],[183,10,183,11],[184,3,184,4],[184,10,184,11],[185,0,185,14],[186,0,186,14],[187,0,187,3],[187,4,187,10],[187,11,187,14],[188,0,191,0],[188,1,191,1],[188,2,191,2],[188,3,191,4],[188,5,191,5],[188,6,191,6],[188,7,188,13],[188,14,191,14],[189,7,191,7],[189,8,191,8],[189,9,189,13],[190,9,190,11],[190,12,191,12],[190,13,191,13],[191,10,191,11],[192,3,192,4],[192,10,192,11],[193,3,193,4],[193,10,193,11],[194,3,194,4],[194,10,194,11],[195,3,195,4],[195,10,195,11],[196,3,196,4],[196,10,196,11],[197,3,197,4],[197,10,197,11],[198,3,198,4],[198,10,198,11],[199,0,199,14],[200,0,200,14],[201,0,201,3],[201,4,201,10],[201,11,201,14],[202,0,205,0],[202,1,205,1],[202,2,205,2],[202,3,205,4],[202,5,205,5],[202,6,205,6],[202,7,202,13],[202,14,205,14],[203,7,205,7],[203,8,205,8],[203,9,203,13],[204,9,204,11],[204,12,205,12],[204,13,205,13],[205,10,205,11],[206,3,206,4],[206,10,206,11],[207,3,207,4],[207,10,207,11],[208,3,208,4],[208,10,208,11],[209,3,209,4],[209,10,209,11],[210,3,210,4],[210,10,210,11],[211,3,211,4],[211,10,211,11],[212,0,212,14],[213,0,213,14],[214,0,214,3],[214,4,214,10],[214,11,214,14],[215,0,218,0],[215,1,218,1],[215,2,218,2],[215,3,218,4],[215,5,218,5],[215,6,218,6],[215,7,215,13],[215,14,218,14],[216,7,218,7],[216,8,218,8],[216,9,216,13],[217,9,217,11],[217,12,218,12],[217,13,218,13],[218,10,218,11],[219,3,219,4],[219,10,219,11],[220,3,220,4],[220,10,220,11],[221,3,221,4],[221,10,221,11],[222,3,222,4],[222,10,222,11],[223,3,223,4],[223,10,223,11],[224,3,224,4],[224,10,224,11],[225,3,225,4],[225,10,225,11],[226,0,226,14],[227,0,227,14],[228,0,228,3],[228,4,228,10],[228,11,228,14],[229,0,232,0],[229,1,232,1],[229,2,232,2],[229,3,232,4],[229,5,232,5],[229,6,232,6],[229,7,229,13],[229,14,232,14],[230,7,232,7],[230,8,232,8],[230,9,230,13],[231,9,231,11],[231,12,232,12],[231,13,232,13],[232,10,232,11],[233,3,233,4],[233,10,233,11],[234,3,234,4],[234,10,234,11],[235,3,235,4],[235,10,235,11],[236,3,236,4],[236,10,236,11],[237,3,237,4],[237,10,237,11],[238,3,238,4],[238,10,238,11],[239,3,239,4],[239,10,239,11],[240,0,240,14],[241,0,241,14],[242,0,242,3],[242,4,242,10],[242,11,242,14],[243,0,246,0],[243,1,246,1],[243,2,246,2],[243,3,246,4],[243,5,246,5],[243,6,246,6],[243,7,243,13],[243,14,246,14],[244,7,246,7],[244,8,246,8],[244,9,244,13],[245,9,245,11],[245,12,246,12],[245,13,246,13],[246,10,246,11],[247,3,247,4],[247,10,247,11],[248,3,248,4],[248,10,248,11],[249,3,249,4],[249,10,249,11],[250,3,250,4],[250,10,250,11],[251,3,251,4],[251,10,251,11],[252,3,252,4],[252,10,252,11],[253,3,253,4],[253,10,253,11],[254,0,254,14],[255,0,255,14],[256,0,256,3],[256,4,256,10],[256,11,256,14],[257,0,260,0],[257,1,260,1],[257,2,260,2],[257,3,260,4],[257,5,260,5],[257,6,260,6],[257,7,257,13],[257,14,260,14],[258,7,260,7],[258,8,260,8],[258,9,258,13],[259,9,259,11],[259,12,260,12],[259,13,260,13],[260,10,260,11],[261,3,261,4],[261,10,261,11],[262,3,262,4],[262,10,262,11],[263,3,263,4],[263,10,263,11],[264,3,264,4],[264,10,264,11],[265,3,265,4],[265,10,265,11],[266,3,266,4],[266,10,266,11],[267,3,267,4],[267,10,267,11],[268,0,268,14],[269,0,269,14],[270,0,270,3],[270,4,270,10],[270,11,270,14],[271,0,274,0],[271,1,274,1],[271,2,274,2],[271,3,274,4],[271,5,274,5],[271,6,274,6],[271,7,271,13],[271,14,274,14],[272,7,274,7],[272,8,274,8],[272,9,272,13],[273,9,273,11],[273,12,274,12],[273,13,274,13],[274,10,274,11],[275,3,275,4],[275,10,275,11],[276,3,276,4],[276,10,276,11],[277,3,277,4],[277,10,277,11],[278,3,278,4],[278,10,278,11],[279,3,279,4],[279,10,279,11],[280,3,280,4],[280,10,280,11],[281,3,281,4],[281,10,281,11],[282,0,282,14],[283,0,283,14],[284,0,284,3],[284,4,284,10],[284,11,284,14],[285,0,288,0],[285,1,288,1],[285,2,288,2],[285,3,288,4],[285,5,288,5],[285,6,288,6],[285,7,285,13],[285,14,288,14],[286,7,288,7],[286,8,288,8],[286,9,286,13],[287,9,287,11],[287,12,288,12],[287,13,288,13],[288,10,288,11],[289,3,289,4],[289,10,289,11],[290,3,290,4],[290,10,290,11],[291,3,291,4],[291,10,291,11],[292,3,292,4],[292,10,292,11],[293,3,293,4],[293,10,293,11],[294,3,294,4],[294,10,294,11],[295,3,295,4],[295,10,295,11],[296,3,296,4],[296,10,296,11],[297,3,297,4],[297,10,297,11],[298,3,298,4],[298,10,298,11],[299,3,299,4],[299,10,299,11],[300,3,300,4],[300,10,300,11],[301,3,301,4],[301,10,301,11],[302,3,302,4],[302,10,302,11],[303,3,303,4],[303,10,303,11],[304,3,304,4],[304,10,304,11],[305,0,305,14]]}
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第1页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[null,null,"燃运值班室"]
[1,"011605001003","平面块料拆除","1.拆除的基层类型:拆除原有地砖及找平层\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",38.02]
[2,"011101006003","平面砂浆找平层","1.找平层厚度、砂浆配合比:20mm厚1:3水泥砂浆",null,"m2",38.02]
[3,"011102003003","块料楼地面","1.厚度、砂浆配合比:20mm厚1:2水泥砂浆\n2.面层材料品种、规格、颜色:800*800瓷砖",null,"m2",38.02]
[4,"011105002002","石材踢脚线","1.踢脚线高度:150mm\n2.粘贴层厚度、材料种类:黑色大理石踢脚线",null,"m",25.83]
[5,"010401001001","砖基础","1.砖品种、规格、强度等级:免烧砖\n2.砂浆强度等级:水泥砂浆M5.0\n3.位置:食堂内地沟填筑",null,"m3",0.38]
[6,"040402016001","沟道盖板","1.材质:镀锌钢格栅盖板\n2.规格尺寸:Q235B材质，热镀锌处理，网格尺寸30×100mm，板厚3mm，扁钢间距30mm",null,"m2",19.93]
[7,"011404002001","水泥沟盖板","1.材质:水泥沟盖板\n2.规格尺寸:预制钢筋混凝土，尺寸600×400×50mm，C30强度，配Φ6钢筋网，表面防滑条纹",null,"m2",3]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第2页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[8,"011604002003","立面抹灰层拆除","1.拆除部位:铲除原墙面墙漆及粉刷层\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",120.12]
[9,"011201001003","墙面一般抹灰","1.墙体类型:内墙\n2.厚度、砂浆配合比:20mm1:2水泥砂浆抹灰\n3.装饰面材料种类:凿毛处理后挂钢丝网片",null,"m2",108.11]
[10,"011407001002","墙面喷刷涂料","1.喷刷涂料部位:内墙面\n2.腻子种类:普通腻子\n3.刮腻子要求:两遍\n4.涂料品种、喷刷遍数:乳胶漆两遍",null,"m2",77.22]
[11,"011201001009","墙面一般抹灰","1.墙体类型:外墙\n2.厚度、砂浆配合比:20mm厚水泥砂浆抹灰\n3.装饰面材料种类:凿毛处理后挂钢丝网片",null,"m2",42.9]
[12,"011407001007","墙面喷刷涂料","1.基层类型:抹灰面\n2.喷刷涂料部位:外墙面\n3.腻子种类:耐水腻子\n4.刮腻子要求:两遍\n5.涂料品种、喷刷遍数:乳胶漆两遍",null,"m2",42.9]
[13,"011605002002","立面块料拆除","1.饰面材料种类:拆除原墙裙瓷砖及抹灰层\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",30.89]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第3页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[14,"011204003003","块料墙裙","1.墙体类型:内墙\n2.安装方式:黏贴\n3.面层材料品种、规格、颜色:400*800的墙面瓷砖",null,"m2",30.89]
[15,"011610002004","金属门窗拆除","1.工作内容:拆除原有窗\n2.门窗洞口尺寸:根据现场实际情况确定\n3.其他:包含老旧材料拆除、移交给建设单位，并负责堆放至建设单位指定位置",null,"m2",11.52]
[16,"010807001003","金属（塑钢、断桥）窗","1.窗代号及洞口尺寸:根据现场实际情况确定\n2.框、扇材质:70系列断桥铝合金平开窗，型材厚度≥1.2mm\n3.玻璃品种、厚度:5+12A+5中空钢化玻璃",null,"m2",11.52]
[17,"010807004001","金属纱窗","1.框材质:铝合金\n2.窗纱材料品种、规格:304金刚纱\n3.其他:含五金",null,"m2",2.88]
[18,"011601001002","砖砌体拆除","1.砌体材质:综合考虑\n2.拆除高度:根据现场实际情况确定\n3.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m3",0.29]
[19,"011610002005","金属门窗拆除","1.工作内容:拆除原有门\n2.门窗洞口尺寸:根据现场实际情况确定\n3.其他:包含老旧材料拆除、移交给建设单位，并负责堆放至建设单位指定位置",null,"m2",2.2]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第4页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[20,"010802004002","防盗门","1.门代号及洞口尺寸:防盗门\n2.门框或扇外围尺寸:根据现场实际情况确定\n3.门框、扇材质:甲级钢制，门扇厚度≥90mm\n4.五金及配件要求:含所需五金配件的购置及安装\n5.说明:含门套、门安装、框边填堵、护角等",null,"m2",2.88]
[21,"011606003003","天棚面龙骨及饰面拆除","1.拆除的基层类型:拆除原有天棚\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",38.02]
[22,"011302001003","吊顶天棚","1.龙骨材料种类、规格、中距:轻钢龙骨\n2.面层材料品种、规格:600*600mm铝扣板",null,"m2",38.02]
[23,"030412005003","平板灯","1.名称:平板灯\n2.规格:600*600,36W\n3.其他:包含拆除原有灯具，满足建设单位及规范要求",null,"套",6]
[24,"030411001003","配管","1.名称:塑料管\n2.材质:PVC25\n3.配置形式:暗配沿墙沿地\n4.其他:含开槽及原管线拆除",null,"m",143]
[25,"030411001004","配管","1.名称:塑料管\n2.材质:PVC32\n3.配置形式:暗配沿墙沿地\n4.其他:含开槽及原管线拆除",null,"m",13.2]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第5页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[26,"030411004001","配线","1.名称:管内穿线\n2.配线形式:照明线路\n3.型号、规格、材质:ZR-BV-2.5\n4.其他:含原管线拆除",null,"m",198]
[27,"030411004002","配线","1.名称:管内穿线\n2.配线形式:动力线路\n3.型号、规格、材质:ZR-BV-3*4\n4.其他:含原管线拆除",null,"m",297]
[28,"030408001003","电力电缆","1.名称:电缆敷设\n2.型号:YJV-3×6mm2\n3.敷设方式、部位:管道敷设\n4.其他:含原管线拆除",null,"m",27.5]
[29,"030502005001","网线","1.名称:网络线\n2.规格:CAT5e，无氧铜芯\n3.其他:含原管线拆除",null,"m",22]
[30,"030404034003","照明开关","1.名称:双联单控开关\n2.材质:塑料\n3.安装方式:暗装",null,"个",1]
[31,"030404035006","插座","1.名称:五孔插座\n2.材质:塑料\n3.规格:220V 10A\n4.安装方式:暗装",null,"个",9]
[32,"030404035003","插座","1.名称:USB五孔插座\n2.材质:塑料\n3.规格:220V 10A\n4.安装方式:暗装",null,"个",3]
[33,"030404035005","插座","1.名称:16A空调专用插座（带漏保）\n2.材质:塑料\n3.安装方式:暗装",null,"个",1]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第6页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[34,"031001006004","塑料管","1.安装部位:室内\n2.介质:污水\n3.材质、规格:DN75PVC-U排水管\n4.连接形式:热熔连接\n5.其他:原水管拆除",null,"m",6.6]
[35,"011612002002","卫生洁具拆除","1.卫生洁具种类:拆除原有拖把池\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"套",1]
[36,"011612002003","卫生洁具拆除","1.卫生洁具种类:拆除原有洗手台\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"套",1]
[37,"011505001001","洗漱台","1.名称:洗手台\n2.材料品种、规格、颜色:免烧砖砖砌、1:2水泥砂浆抹面，300*300瓷砖粘贴\n3.尺寸:高1.1m*长1.2m*宽0.4m",null,"个",1]
[38,"010501001001","垫层","1.混凝土种类:商品混凝土\n2.混凝土强度等级:C15\n3.其他:洗手池底部新增浇筑混凝土",null,"m3",0.2]
[39,"031004003002","洗脸盆（双盆）","1.材质:陶瓷\n2.组装形式:冷热水\n3.附件名称、数量:成套型，含水龙头、含不锈钢下水带存水弯等附件\n4.满足建设单位使用需求",null,"组",1]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第7页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[40,"031004008003","拖把池","1.名称:拖把池\n2.材料品种、规格、颜色:免烧砖砖砌、1:2水泥砂浆抹面，300*300瓷砖粘贴\n3.尺寸:高0.5m*长0.6m*3面",null,"组",1]
[41,"011602001001","混凝土构件拆除","1.构件名称:人工凿除燃运值班室门口室外低洼混凝土地坪和软弱基层（请结合沟盖板的位置核实）",null,"m2",97.18]
[42,"011101003001","细石混凝土楼地面","1.找平层厚度、砂浆配合比:人工铺设基层公分石找平\n2.面层厚度、混凝土强度等级:150mm厚C35混凝土",null,"m2",97.18]
[43,"010515001001","现浇构件钢筋","1.钢筋种类、规格:φ6@200单层双向钢筋",null,"t",0.269]
[44,"030701003002","空调器","1.名称:拆除原有空调\n2.其他:包含老旧材料拆除、移交给建设单位，并负责堆放至建设单位指定位置\n3.满足建设单位使用需求",null,"组",1]
[45,"030701003001","空调器","1.名称:挂壁式3匹空调\n2.规格:制热功率2820W，制冷功率2060W、3P变频\n3.包含室内、室外机，以及配套的冷媒管、保温、排水管等所有配件\n3.满足建设单位使用需求",null,"组",1]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第8页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[46,"030507014001","电视机","1.名称:挂壁式55寸电视机一台\n2.规格:55寸，4K分辨率，144Hz刷新率，4GB+64GB\n3.满足建设单位使用需求",null,"台",1]
[47,"01B006","电保温餐台","1.名称:电保温餐台\n2.做法:订制餐台，5m×0.8m×0.9m，含304不锈钢电加热孔盆（3眼圆孔+7眼方孔），大理石台面，下方收纳柜，上方独立条形LED照明（可参照甲方其他餐台定制）、材质：304#不锈钢板；台板：大理石；门：外板≥1.0mm，内胆≥0.7mm，一体式折边门把手；柜身：厚度≥1.0mm；支撑码：厚度≥1.0mm，用于面板、台板、底板\n3.满足建设单位使用需求",null,"项",1]
[48,"031006012001","电加热热水器","1.类型:电加热热水器\n2.型号、容积:E6，一级能效，尺寸910×330×555，80L，3000W\n3.满足建设单位使用需求",null,"台",1]
[49,"031004018001","冰热式饮水机","1.类型:冰热式饮水机\n2.型号、规格:压缩机制冷，额定功率2130W，冰胆容量1L，水箱容量4L，矿化富锶滤芯\n3.满足建设单位使用需求",null,"套",1]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第9页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[50,"01B007","4人餐桌椅","1.名称:4人餐桌椅\n2.配置:120*60*75cm桌子+4把椅子\n3.要求:详见技术参数\n4.满足建设单位使用需求",null,"套",4]
[51,"01B016","单人餐桌椅","1.名称:单人餐桌椅\n2.配置:60*60*75cm桌子+1把椅子\n3.要求:详见技术参数\n4.满足建设单位使用需求",null,"套",2]
[52,"011501009001","餐边柜","1.名称:餐边柜\n2.台柜规格:尺寸根据现场条件订制总长不超3.6m，总高不超1.8m，宽度不超0.5m，供货尺寸满足建设单位使用需求，详见技术参数",null,"套",1]
[53,"011501009002","杂物柜","1.名称:杂物柜\n2.台柜规格:尺寸根据现场条件订制总长不超3.6m，总高不超1.8m，宽度不超0.5m，供货尺寸满足建设单位使用需求，详见技术参数",null,"套",1]
[54,"011501009003","置物柜","1.名称:置物柜\n2.台柜规格:尺寸根据现场条件订制总长不超3.6m，总高不超1.8m，宽度不超0.5m，供货尺寸满足建设单位使用需求，详见技术参数\n3.备注:设置对讲机以及安全帽摆放处",null,"套",1]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第10页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[55,"011501009004","带锁落地式雨伞架","1.名称:雨伞收纳架\n2.台柜规格:不锈钢烤漆材质（含12个锁头）\n3.满足建设单位使用需求",null,"套",1]
[56,"01B012","微波炉","1、名称:微波炉\n2、参数：平板式20L（700W），二级能效\n3.满足建设单位使用需求",null,"台",1]
[57,"031001006005","塑料管","1.安装部位:室内\n2.介质:给水\n3.材质、规格:PPR管 DN32\n4.连接形式:热熔连接\n5.其他:含开槽及原水管拆除",null,"m",60]
[58,"031001006006","塑料管","1.安装部位:室内\n2.介质:热水\n3.材质、规格:PPR管 DN40\n4.连接形式:热熔连接\n5.其他:含开槽及原水管拆除",null,"m",60]
[59,"011303001001","采光天棚","1.骨架类型:304不锈钢骨架\n2.固定类型、固定材料品种、规格:满足规范要求\n3.面层材料品种、规格:耐力板顶面\n4.嵌缝、塞口材料种类:满足规范要求",null,"m2",4]
[60,"01B010","爬梯移装","1.名称:爬梯移装\n2.工作内容:原有爬梯保护性拆除，移位安装，包含安装所需材料",null,"项",1]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第11页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[61,"010810001001","窗帘","1.名称:原窗帘更换\n2.窗帘材质:百叶窗帘\n3.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",11.52]
[62,"01B011","固定原铝塑板墙裙","1.工作内容:原铝塑板墙裙脱落处恢复",null,"处",3]
[63,"01B008","人工搬运值班室内物品及恢复","1.工作内容:人工搬运值班室内物品及恢复\n2.其他:搬运至甲方指定地点",null,"项",1]
[64,"010103002001","建筑垃圾外运","1.废弃料品种:建筑垃圾\n2.运距:自行考虑\n3.要求：装车运至昆明市相关部门指定堆放场地，包含装、运、余土弃置费、消纳费等费用，并符合环保、城管、交运等部门的相关要求",null,"项",1]
[null,null,"休息室"]
[65,"011604002005","立面抹灰层拆除","1.拆除部位:铲除原室内墙面墙漆及粉刷层\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",68.25]
[66,"011201001005","墙面一般抹灰","1.墙体类型:内墙\n2.底层厚度、砂浆配合比:20mm\n3.面层厚度、砂浆配合比:1:2水泥砂浆进行内墙面抹灰\n4.装饰面材料种类:凿毛处理后挂钢丝网片",null,"m2",68.25]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第12页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[67,"011407001003","墙面喷刷涂料","1.喷刷涂料部位:内墙面\n2.腻子种类:普通腻子\n3.刮腻子要求:两遍\n4.涂料品种、喷刷遍数:乳胶漆两遍",null,"m2",68.25]
[68,"011607002002","防水层拆除","1.防水层种类:拆除各屋面原老化防水层\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",176]
[69,"010902002002","屋面涂膜防水","1.防水膜品种:JS渗透结晶防水涂料\n2.涂膜厚度、遍数:1.5mm厚",null,"m2",176]
[70,"010902001002","屋面卷材防水","1.卷材品种、规格、厚度:4mm厚SBS改性沥青自粘卷材（聚酯胎）",null,"m2",176]
[71,"010810001002","窗帘","1.名称:原窗帘更换\n2.窗帘材质:百叶窗帘\n3.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",6.6]
[72,"01B013","室内物品搬运及恢复","1.工作内容:人工搬运室内物品及恢复\n2.其他:搬运至甲方指定地点",null,"项",1]
[null,null,"卫生间"]
[73,"011601001003","砖砌体拆除","1.砌体材质:综合考虑\n2.拆除高度:根据现场实际情况确定\n3.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m3",14.92]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第13页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[74,"010401012002","零星砌砖","1.零星砌砖名称、部位:蹲坑基础\n2.砖品种、规格、强度等级:免烧砖\n3.砂浆强度等级、配合比:水泥砂浆M5.0",null,"m3",10.16]
[75,"011605001004","平面块料拆除","1.拆除的基层类型:拆除原有地砖及找平层\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",30.25]
[76,"011101006002","平面砂浆找平层","1.找平层厚度、砂浆配合比:20mm厚1:3水泥砂浆",null,"m2",30.25]
[77,"011102003004","块料楼地面","1.厚度、砂浆配合比:20mm厚1:2水泥砂浆\n2.面层材料品种、规格、颜色:800*800瓷砖",null,"m2",30.25]
[78,"011605002003","立面块料拆除","1.饰面材料种类:拆除原墙面瓷砖及抹灰层\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",127.36]
[79,"011201001006","墙面一般抹灰","1.墙体类型:内墙\n2.底层厚度、砂浆配合比:20mm\n3.面层厚度、砂浆配合比:1:2水泥砂浆进行内墙面抹灰\n4.装饰面材料种类:凿毛处理后挂钢丝网片",null,"m2",128.8]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第14页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[80,"011204003004","块料墙面","1.墙体类型:内墙\n2.安装方式:黏贴\n3.面层材料品种、规格、颜色:400*800墙面砖",null,"m2",128.8]
[81,"011201001008","墙面一般抹灰","1.墙体类型:外墙\n2.厚度、砂浆配合比:20mm厚水泥砂浆抹灰\n3.装饰面材料种类:凿毛处理后挂钢丝网片",null,"m2",1.44]
[82,"011407001006","墙面喷刷涂料","1.基层类型:抹灰面\n2.喷刷涂料部位:外墙面\n3.腻子种类:耐水腻子\n4.刮腻子要求:两遍\n5.涂料品种、喷刷遍数:乳胶漆两遍",null,"m2",1.44]
[83,"010503005001","过梁","1.混凝土种类:商品混凝土\n2.混凝土强度等级:C25",null,"m3",0.07]
[84,"010515001003","箍筋","1.钢筋种类、规格:HRB400E φ10以内\n2.含制作、运输、安装及调直费等\n3.其它:满足国家、行业相关规范、标准的要求",null,"t",0.003]
[85,"010515001004","现浇构件钢筋 HRB400E φ10以内","1.钢筋种类、规格:HRB400E φ10以内\n2.含制作、运输、安装及调直费等\n3.其它:满足国家、行业相关规范、标准的要求",null,"t",0.005]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第15页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[86,"011610002006","金属门窗拆除","1.工作内容:拆除原有窗\n2.门窗洞口尺寸:根据现场实际情况确定\n3.其他:包含老旧材料拆除、移交给建设单位，并负责堆放至建设单位指定位置",null,"m2",5.04]
[87,"010807001005","金属（塑钢、断桥）窗","1.窗代号及洞口尺寸:根据现场实际情况确定\n2.框、扇材质:70系列断桥铝合金平开窗，型材厚度≥1.2mm\n3.玻璃品种、厚度:5+12A+5中空磨砂钢化玻璃",null,"m2",5.04]
[88,"010807004002","金属纱窗","1.框材质:铝合金\n2.窗纱材料品种、规格:304金刚纱\n3.其他:含五金",null,"m2",1.26]
[89,"011610002007","金属门窗拆除","1.工作内容:拆除原有门\n2.门窗洞口尺寸:根据现场实际情况确定\n3.其他:包含老旧材料拆除、移交给建设单位，并负责堆放至建设单位指定位置",null,"m2",3.96]
[90,"010802004003","钢质门","1.门代号及洞口尺寸:钢质门\n2.门框或扇外围尺寸:根据现场实际情况确定\n3.门框、扇材质:钢质\n4.五金及配件要求:含所需五金配件的购置及安装\n5.说明:含门套、门安装、框边填堵、护角等",null,"m2",3.96]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第16页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[91,"011606003004","天棚面龙骨及饰面拆除","1.拆除的基层类型:拆除原有天棚\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",33.28]
[92,"011302001004","吊顶天棚","1.龙骨材料种类、规格、中距:轻钢龙骨\n2.面层材料品种、规格:600*600mm铝扣板",null,"m2",33.28]
[93,"030412005004","平板灯","1.名称:平板灯\n2.规格:600*600,36W\n3.其他:包含拆除原有灯具，满足建设单位及规范要求",null,"套",4]
[94,"030404033002","风扇","1.名称:更换排气扇\n2.规格:风量≥150m³/h，噪音≤35dB\n3.安装方式:壁挂\n4.工作内容:包含老旧材料拆除、新设备安装调试、场内集中堆放、垂直运输等",null,"台",6]
[95,"031004007003","拆除挂式小便器","1.拆除部位:拆除挂式小便器\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"组",2]
[96,"031004006003","拆除蹲式脚踏大便器","1.拆除部位:拆除蹲式脚踏大便器\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"组",6]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第17页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[97,"031004007002","感应挂式小便器","1.材质:陶瓷\n2.规格、类型:感应挂式小便器\n3.附件名称、数量:成套型，含感应器及下水配件\n4.满足建设单位使用需求",null,"组",2]
[98,"031004006004","脚踏式蹲坑","1.材质:陶瓷\n2.规格、类型:脚踏式蹲坑\n3.附件名称、数量:成套型，含脚踏阀及下水配件\n5.满足建设单位使用需求",null,"组",6]
[99,"011612002006","卫生洁具拆除","1.卫生洁具种类:拆除原有拖把池\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"套",2]
[100,"011612002007","卫生洁具拆除","1.卫生洁具种类:拆除原有洗手台\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"套",2]
[101,"011505001003","洗漱台","1.名称:洗手台\n2.材料品种、规格、颜色:免烧砖砖砌、1:2水泥砂浆抹面，300*300瓷砖粘贴\n3.尺寸:高1.1m*长1.2m*宽0.4m\n4.满足建设单位使用需求",null,"个",2]
[102,"010501001003","垫层","1.混凝土种类:商品混凝土\n2.混凝土强度等级:C15\n3.其他:洗手池底部新增浇筑混凝土",null,"m3",0.4]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第18页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[103,"031004003004","洗脸盆","1.材质:陶瓷\n2.组装形式:冷热水\n3.附件名称、数量:成套型，含水龙头、含不锈钢下水带存水弯等附件\n4.满足建设单位使用需求",null,"组",2]
[104,"031004008004","拖把池","1.名称:拖把池\n2.材料品种、规格、颜色:免烧砖砖砌、1:2水泥砂浆抹面，300*300瓷砖粘贴\n3.尺寸:高0.5m*长0.6m*3面\n4.满足建设单位使用需求",null,"组",2]
[105,"030411001001","配管","1.名称:塑料管\n2.材质:PVC25\n3.配置形式:暗配沿墙沿地\n4.其他:含开槽及原管线拆除",null,"m",50]
[106,"030411004003","配线","1.名称:管内穿线\n2.配线形式:照明线路\n3.型号、规格、材质:ZR-BV-2.5\n4.配线部位:暗敷\n5.其他:含开槽及原管线拆除",null,"m",150]
[107,"030404034004","照明开关","1.名称:双联单控开关\n2.材质:塑料\n3.安装方式:暗装\n4.其中一联控制换气扇",null,"个",2]
[108,"030404035004","插座","1.名称:五孔插座\n2.材质:塑料\n3.规格:220V 10A\n4.安装方式:暗装",null,"个",2]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第19页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[109,"030404035009","插座","1.名称:五孔插座（带防水盒）\n2.材质:塑料\n3.规格:220V 10A\n4.安装方式:暗装",null,"个",2]
[110,"031001006001","塑料管","1.安装部位:更换PPR管\n2.材质、规格:DN25\n3.连接形式:热熔连接\n4.其他:含开槽及原水管拆除",null,"m",70]
[111,"031001006007","塑料管","1.安装部位:室内\n2.介质:污水\n3.材质、规格:DN75 PVC-U排水管\n4.连接形式:热熔连接\n5.其他:含原水管拆除",null,"m",30]
[112,"031001006003","塑料管","1.安装部位:室内\n2.介质:污水\n3.材质、规格:DN150 PVC-U排水管\n4.连接形式:热熔连接\n5.其他:含原水管拆除",null,"m",15]
[113,"011210002001","卫生间隔断","1.部位:卫生间隔断\n2..隔断材料品种、规格、颜色:≥20mm厚倍特板\n3.说明:含门、挂钩、五金配件等",null,"m2",55.5]
[114,"031004009001","烘手器","1.名称:烘手器\n2.参数:循环风量12m/s，功率2000W,红外感应，单热款",null,"个",2]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第20页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[115,"010103002002","建筑垃圾外运","1.废弃料品种:建筑垃圾\n2.运距:自行考虑\n3.要求：装车运至昆明市相关部门指定堆放场地，包含装、运、余土弃置费、消纳费等费用，并符合环保、城管、交运等部门的相关要求",null,"项",1]
[null,null,"更衣室"]
[116,"011606001001","楼地面龙骨及饰面拆除","1.拆除的基层类型:原木地板及支架拆除\n2.龙骨及饰面种类:根据现场情况确定\n3.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",5]
[117,"011104002002","强化木地板","1.基层材料种类、规格:原地面基层\n2.面层材料品种、规格、颜色:强化木地板",null,"m2",5]
[118,"011604002007","立面抹灰层拆除","1.拆除部位:铲除原室内墙面墙漆及粉刷层\n2.其他:包含老旧材料拆除、场内集中堆放、垂直运输等",null,"m2",10]
[119,"011201001007","墙面防水抹灰","1.墙体类型:内墙\n2.底层厚度、砂浆配合比:20mm\n3.面层厚度、砂浆配合比:1:2防水水泥砂浆进行内墙面抹灰\n4.装饰面材料种类:凿毛处理后挂钢丝网片",null,"m2",10]
[null,null,"本页小计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]
["F-15-1：分部分项工程清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":6},"第21页  共21页"]
["序号","项目编码","项目名称","项目特征",null,"计量\n单位","工程量","金额（元）",{"$nulls":6},"备   注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,null,"机械费","暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[120,"011407001005","墙面喷刷涂料","1.喷刷涂料部位:内墙面\n2.腻子种类:普通腻子\n3.刮腻子要求:两遍\n4.涂料品种、喷刷遍数:乳胶漆两遍",null,"m2",10]
[121,"01B009","ABS更衣柜","1.名称:更衣柜\n2.参数:成品，单个1990×380×500单门双开，内置挂杆及隔板（带手牌电子锁）\n3.满足建设单位使用需求",null,"套",26]
[122,"01B014","磁吸鞋柜","1.名称:鞋柜\n2.参数:不锈钢，订制鞋柜，单个鞋子收纳空间（160*310*380）共需32个收纳空间，带磁吸门\n3.满足建设单位使用需求",null,"套",1]
[123,"01B015","长条凳","1.名称:凳子\n2.参数:订制凳子，尺寸1800*440*400\n3.满足建设单位使用需求",null,"套",2]
{"$rows_empty":10}
[null,null,"本页小计"]
[null,null,"合计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n     2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n     3.本表中“暂估价”为材料、设备暂估价。"]

{"sheet":"F-15-2 施工技术措施项目清单与计价表","index":1,"n_rows":20,"n_cols":15,"rows_kept":20,"merged":[[0,0,0,14],[1,0,1,4],[1,5,1,11],[1,12,1,14],[2,0,5,0],[2,1,5,1],[2,2,5,2],[2,3,5,3],[2,4,5,5],[2,6,5,6],[2,7,2,13],[2,14,5,14],[3,7,5,7],[3,8,5,8],[3,9,3,13],[4,9,4,10],[4,11,5,12],[4,13,5,13],[6,4,6,5],[6,11,6,12],[7,4,7,5],[7,11,7,12],[8,4,8,5],[8,11,8,12],[9,4,9,5],[9,11,9,12],[10,4,10,5],[10,11,10,12],[11,4,11,5],[11,11,11,12],[12,4,12,5],[12,11,12,12],[13,4,13,5],[13,11,13,12],[14,4,14,5],[14,11,14,12],[15,4,15,5],[15,11,15,12],[16,4,16,5],[16,11,16,12],[17,4,17,5],[17,11,17,12],[18,4,18,5],[18,11,18,12],[19,0,19,14]]}
["F-15-2：施工技术措施项目清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":4},"标段：",{"$nulls":6},"第1页  共1页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","金额（元）",{"$nulls":6},"备注"]
[{"$nulls":7},"综合\n单价","合价","其中"]
[{"$nulls":9},"人工费",null,"机械费",null,"暂估价"]
[{"$nulls":9},"定额\n人工费","规费"]
[1,"011701002001","外脚手架","1.部位:外墙\n2.搭设方式:满足现行安全、技术等相关国家规范\n3.搭设高度:根据现场情况确定\n4.脚手架可选用昆纤提供的承插型盘扣式钢管支架（含钢管、扣件、钢跳板等）\n5.安全网:含安全网、安全网需满足现行安全、技术等相关国家规范","m2",null,39]
[2,"011701006001","满堂脚手架","1.搭设方式:满足现行安全、技术等相关国家规范\n2.搭设高度:根据现场情况确定\n3.脚手架可选用昆纤提供的承插型盘扣式钢管支架（含钢管、扣件、钢跳板等）\n4.安全网:含安全网、安全网需满足现行安全、技术等相关国家规范","m2",null,84.81]
[3,"011702009001","过梁","1.部位:过梁模板\n2.材质:综合考虑\n3.工作内容:模板支撑系统的安装、拆除、清理、堆放及场外运输\n4.符合施工验收规范、安全操作规程、质量评定标准","m2",null,1.08]
{"$rows_empty":8}
[null,null,"本页小计"]
[null,null,"合计"]
["注：1.本表为分部分项和施工技术措施项目清单及计价表通用表式，使用时表头名称可简化为其中一类的计价表；\n    2.工程招投标时“暂估价”按招标文件指定价格计入，竣工结算时以合同双方确认价格替换计入综合单价内；\n    3.本表中“暂估价”为材料、设备暂估价。"]

{"sheet":"F-19 施工组织措施项目清单与计价表","index":2,"n_rows":39,"n_cols":14,"rows_kept":39,"merged":[[0,0,0,11],[0,12,0,13],[1,0,1,13],[2,0,2,5],[2,6,2,11],[2,12,2,13],[3,1,3,2],[3,3,3,4],[3,5,3,6],[3,8,3,9],[3,11,3,12],[4,1,4,2],[4,3,4,4],[4,5,4,6],[4,8,4,9],[4,11,4,12],[5,1,5,2],[5,3,5,4],[5,5,5,6],[5,8,5,9],[5,11,5,12],[6,1,6,2],[6,3,6,4],[6,5,6,6],[6,8,6,9],[6,11,6,12],[7,1,7,2],[7,3,7,4],[7,5,7,6],[7,8,7,9],[7,11,7,12],[8,1,8,2],[8,3,8,4],[8,5,8,6],[8,8,8,9],[8,11,8,12],[9,1,9,2],[9,3,9,4],[9,5,9,6],[9,8,9,9],[9,11,9,12],[10,1,10,2],[10,3,10,4],[10,5,10,6],[10,8,10,9],[10,11,10,12],[11,1,11,2],[11,3,11,4],[11,5,11,6],[11,8,11,9],[11,11,11,12],[12,1,12,2],[12,3,12,4],[12,5,12,6],[12,8,12,9],[12,11,12,12],[13,1,13,2],[13,3,13,4],[13,5,13,6],[13,8,13,9],[13,11,13,12],[14,1,14,2],[14,3,14,4],[14,5,14,6],[14,8,14,9],[14,11,14,12],[15,1,15,2],[15,3,15,4],[15,5,15,6],[15,8,15,9],[15,11,15,12],[16,1,16,2],[16,3,16,4],[16,5,16,6],[16,8,16,9],[16,11,16,12],[17,1,17,2],[17,3,17,4],[17,5,17,6],[17,8,17,9],[17,11,17,12],[18,1,18,2],[18,3,18,4],[18,5,18,6],[18,8,18,9],[18,11,18,12],[19,1,19,2],[19,3,19,4],[19,5,19,6],[19,8,19,9],[19,11,19,12],[20,1,20,2],[20,3,20,4],[20,5,20,6],[20,8,20,9],[20,11,20,12],[21,1,21,2],[21,3,21,4],[21,5,21,6],[21,8,21,9],[21,11,21,12],[22,1,22,2],[22,3,22,4],[22,5,22,6],[22,8,22,9],[22,11,22,12],[23,1,23,2],[23,3,23,4],[23,5,23,6],[23,8,23,9],[23,11,23,12],[24,1,24,2],[24,3,24,4],[24,5,24,6],[24,8,24,9],[24,11,24,12],[25,1,25,2],[25,3,25,4],[25,5,25,6],[25,8,25,9],[25,11,25,12],[26,1,26,2],[26,3,26,4],[26,5,26,6],[26,8,26,9],[26,11,26,12],[27,1,27,2],[27,3,27,4],[27,5,27,6],[27,8,27,9],[27,11,27,12],[28,1,28,2],[28,3,28,4],[28,5,28,6],[28,8,28,9],[28,11,28,12],[29,1,29,2],[29,3,29,4],[29,5,29,6],[29,8,29,9],[29,11,29,12],[30,1,30,2],[30,3,30,4],[30,5,30,6],[30,8,30,9],[30,11,30,12],[31,1,31,2],[31,3,31,4],[31,5,31,6],[31,8,31,9],[31,11,31,12],[32,1,32,2],[32,3,32,4],[32,5,32,6],[32,8,32,9],[32,11,32,12],[33,1,33,2],[33,3,33,4],[33,5,33,6],[33,8,33,9],[33,11,33,12],[34,1,34,2],[34,3,34,4],[34,5,34,6],[34,8,34,9],[34,11,34,12],[35,1,35,2],[35,3,35,4],[35,5,35,6],[35,8,35,9],[35,11,35,12],[36,1,36,2],[36,3,36,4],[36,5,36,6],[36,8,36,9],[36,11,36,12],[37,0,37,7],[37,8,37,9],[37,11,37,12],[38,0,38,13]]}
[]
["F-19：施工组织措施项目清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":5},"标段：",{"$nulls":5},"第  1  页  共  1  页"]
["序号","项目编号",null,"项目名称",null,"计算基础",null,"费率\n(%)","金额\n(元)",null,"调整费率\n(%)","调整后金额\n(元)",null,"备注"]
["1",null,null,"绿色施工及安全文明施工措施费"]
["1.1","011707001001",null,"安全文明施工及环境保护费",{"$nulls":3},"5.12",{"$nulls":5},"定额人工费+定额机械费×8%"]
["1.2","011707001002",null,"临时设施费",{"$nulls":3},"2.76",{"$nulls":5},"定额人工费+定额机械费×8%"]
["1.3","01B001",null,"绿色施工措施费",{"$nulls":3},"5.94",{"$nulls":5},"定额人工费+定额机械费×8%"]
["2","011707005001",null,"冬、雨季施工增加费、工程定位复测、工程点交、场地清理费",{"$nulls":3},"3.72",{"$nulls":5},"定额人工费+定额机械费×8%"]
["3","011707002001",null,"夜间施工增加费",{"$nulls":3},"0.5",{"$nulls":5},"定额人工费+定额机械费×8%"]
["4","01B002",null,"特殊地区施工增加费",{"$nulls":3},"0",{"$nulls":5},"定额人工费+定额机械费×8%"]
["5","01B003",null,"压缩工期增加费",{"$nulls":3},"0",{"$nulls":5},"定额人工费+定额机械费"]
["6","01B004",null,"行车、 行人干扰增加费",{"$nulls":3},"0",{"$nulls":5},"定额人工费+定额机械费×8%"]
["7","011707007001",null,"已完工程及设备保护费",{"$nulls":3},"0"]
["8","01B005",null,"其他施工组织措施项目费",{"$nulls":3},"0"]
{"$rows_empty":22}
["合    计"]
["注：1.“其他施工组织措施费”在计价时需列出具体费用名称；\n    2.工程结算时按合同约定调整费率和金额。"]

{"sheet":"F-20 其他项目清单与计价表","index":3,"n_rows":42,"n_cols":10,"rows_kept":42,"merged":[[0,0,0,7],[0,8,0,9],[1,0,1,9],[2,0,2,3],[2,4,2,7],[2,8,2,9],[3,0,3,1],[3,2,3,4],[3,5,3,6],[3,7,3,8],[4,0,4,1],[4,2,4,4],[4,5,4,6],[4,7,4,8],[5,0,5,1],[5,2,5,4],[5,5,5,6],[5,7,5,8],[6,0,6,1],[6,2,6,4],[6,5,6,6],[6,7,6,8],[7,0,7,1],[7,2,7,4],[7,5,7,6],[7,7,7,8],[8,0,8,1],[8,2,8,4],[8,5,8,6],[8,7,8,8],[9,0,9,1],[9,2,9,4],[9,5,9,6],[9,7,9,8],[10,0,10,1],[10,2,10,4],[10,5,10,6],[10,7,10,8],[11,0,11,1],[11,2,11,4],[11,5,11,6],[11,7,11,8],[12,0,12,1],[12,2,12,4],[12,5,12,6],[12,7,12,8],[13,0,13,1],[13,2,13,4],[13,5,13,6],[13,7,13,8],[14,0,14,1],[14,2,14,4],[14,5,14,6],[14,7,14,8],[15,0,15,1],[15,2,15,4],[15,5,15,6],[15,7,15,8],[16,0,16,1],[16,2,16,4],[16,5,16,6],[16,7,16,8],[17,0,17,1],[17,2,17,4],[17,5,17,6],[17,7,17,8],[18,0,18,1],[18,2,18,4],[18,5,18,6],[18,7,18,8],[19,0,19,1],[19,2,19,4],[19,5,19,6],[19,7,19,8],[20,0,20,1],[20,2,20,4],[20,5,20,6],[20,7,20,8],[21,0,21,1],[21,2,21,4],[21,5,21,6],[21,7,21,8],[22,0,22,1],[22,2,22,4],[22,5,22,6],[22,7,22,8],[23,0,23,1],[23,2,23,4],[23,5,23,6],[23,7,23,8],[24,0,24,1],[24,2,24,4],[24,5,24,6],[24,7,24,8],[25,0,25,1],[25,2,25,4],[25,5,25,6],[25,7,25,8],[26,0,26,1],[26,2,26,4],[26,5,26,6],[26,7,26,8],[27,0,27,1],[27,2,27,4],[27,5,27,6],[27,7,27,8],[28,0,28,1],[28,2,28,4],[28,5,28,6],[28,7,28,8],[29,0,29,1],[29,2,29,4],[29,5,29,6],[29,7,29,8],[30,0,30,1],[30,2,30,4],[30,5,30,6],[30,7,30,8],[31,0,31,1],[31,2,31,4],[31,5,31,6],[31,7,31,8],[32,0,32,1],[32,2,32,4],[32,5,32,6],[32,7,32,8],[33,0,33,1],[33,2,33,4],[33,5,33,6],[33,7,33,8],[34,0,34,1],[34,2,34,4],[34,5,34,6],[34,7,34,8],[35,0,35,1],[35,2,35,4],[35,5,35,6],[35,7,35,8],[36,0,36,1],[36,2,36,4],[36,5,36,6],[36,7,36,8],[37,0,37,1],[37,2,37,4],[37,5,37,6],[37,7,37,8],[38,0,38,1],[38,2,38,4],[38,5,38,6],[38,7,38,8],[39,0,39,1],[39,2,39,4],[39,5,39,6],[39,7,39,8],[40,0,40,4],[40,5,40,6],[40,7,40,8],[41,0,41,9]]}
[]
["F-20：其他项目清单与计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":3},"第  1  页  共  1  页"]
["序号",null,"项目名称",null,null,"金额(元)",null,"结算金额(元)",null,"备注"]
["1",null,"暂列金额",{"$nulls":6},"详见明细表F-21"]
["2",null,"暂估价"]
["2.1",null,"材料（设备）暂估价",{"$nulls":6},"详见明细表F-22"]
["2.2",null,"专业工程暂估价",{"$nulls":6},"详见明细表F-23"]
["2.3",null,"专项技术措施暂估价",{"$nulls":6},"详见明细表F-24"]
["3",null,"计日工",{"$nulls":6},"详见明细表F-25"]
["4",null,"总承包服务费",{"$nulls":6},"详见明细表F-26"]
["5",null,"索赔与现场签证",null,null,"-",{"$nulls":3},"详见明细表F-27"]
["6",null,"优质工程增加费"]
["7",null,"提前竣工增加费"]
["8",null,"人工费调整"]
["9",null,"机械燃料动力费价差"]
{"$rows_empty":24}
["合    计",{"$nulls":8},"—"]
["注：1.工程结算时第1.1项、第1.2项分别在施工组织措施项目和其他项目计价表内计列；\n    2.工程结算时第2.3项在施工技术措施项目计价表内计列；\n    3.材料（设备)暂估单价进人清单项目综合单价；\n    4.索赔现现场签字在工程结算期计列。"]

{"sheet":"F-21 暂列金额明细表","index":4,"n_rows":42,"n_cols":10,"rows_kept":42,"merged":[[0,0,0,7],[0,8,0,9],[1,0,1,9],[2,0,2,3],[2,4,2,7],[2,8,2,9],[3,0,3,1],[3,2,3,4],[3,5,3,6],[3,7,3,8],[4,0,4,1],[4,2,4,4],[4,5,4,6],[4,7,4,8],[5,0,5,1],[5,2,5,4],[5,5,5,6],[5,7,5,8],[6,0,6,1],[6,2,6,4],[6,5,6,6],[6,7,6,8],[7,0,7,1],[7,2,7,4],[7,5,7,6],[7,7,7,8],[8,0,8,1],[8,2,8,4],[8,5,8,6],[8,7,8,8],[9,0,9,1],[9,2,9,4],[9,5,9,6],[9,7,9,8],[10,0,10,1],[10,2,10,4],[10,5,10,6],[10,7,10,8],[11,0,11,1],[11,2,11,4],[11,5,11,6],[11,7,11,8],[12,0,12,1],[12,2,12,4],[12,5,12,6],[12,7,12,8],[13,0,13,1],[13,2,13,4],[13,5,13,6],[13,7,13,8],[14,0,14,1],[14,2,14,4],[14,5,14,6],[14,7,14,8],[15,0,15,1],[15,2,15,4],[15,5,15,6],[15,7,15,8],[16,0,16,1],[16,2,16,4],[16,5,16,6],[16,7,16,8],[17,0,17,1],[17,2,17,4],[17,5,17,6],[17,7,17,8],[18,0,18,1],[18,2,18,4],[18,5,18,6],[18,7,18,8],[19,0,19,1],[19,2,19,4],[19,5,19,6],[19,7,19,8],[20,0,20,1],[20,2,20,4],[20,5,20,6],[20,7,20,8],[21,0,21,1],[21,2,21,4],[21,5,21,6],[21,7,21,8],[22,0,22,1],[22,2,22,4],[22,5,22,6],[22,7,22,8],[23,0,23,1],[23,2,23,4],[23,5,23,6],[23,7,23,8],[24,0,24,1],[24,2,24,4],[24,5,24,6],[24,7,24,8],[25,0,25,1],[25,2,25,4],[25,5,25,6],[25,7,25,8],[26,0,26,1],[26,2,26,4],[26,5,26,6],[26,7,26,8],[27,0,27,1],[27,2,27,4],[27,5,27,6],[27,7,27,8],[28,0,28,1],[28,2,28,4],[28,5,28,6],[28,7,28,8],[29,0,29,1],[29,2,29,4],[29,5,29,6],[29,7,29,8],[30,0,30,1],[30,2,30,4],[30,5,30,6],[30,7,30,8],[31,0,31,1],[31,2,31,4],[31,5,31,6],[31,7,31,8],[32,0,32,1],[32,2,32,4],[32,5,32,6],[32,7,32,8],[33,0,33,1],[33,2,33,4],[33,5,33,6],[33,7,33,8],[34,0,34,1],[34,2,34,4],[34,5,34,6],[34,7,34,8],[35,0,35,1],[35,2,35,4],[35,5,35,6],[35,7,35,8],[36,0,36,1],[36,2,36,4],[36,5,36,6],[36,7,36,8],[37,0,37,1],[37,2,37,4],[37,5,37,6],[37,7,37,8],[38,0,38,1],[38,2,38,4],[38,5,38,6],[38,7,38,8],[39,0,39,1],[39,2,39,4],[39,5,39,6],[39,7,39,8],[40,0,40,6],[40,7,40,8],[41,0,41,9]]}
[]
["F-21：暂列金额明细表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":3},"第  1  页  共  1  页"]
["序号",null,"项目名称",null,null,"计量单位",null,"暂定金额（元）",null,"备注"]
["1"]
{"$rows_empty":35}
["合    计",{"$nulls":8},"—"]
["注：1.此表由招标人填写，如不能详列，也可只列暂定金额总额，投标人应将上述暂列金额计入投标总价中；\n    2.工程结算时序号第1项、第2项分别在施工组织措施项目和其他项目计价表内计列。"]

{"sheet":"规费、税金项目计价表","index":5,"n_rows":47,"n_cols":11,"rows_kept":47,"merged":[[0,0,0,7],[0,8,0,10],[1,0,1,10],[2,0,2,3],[2,4,2,7],[2,8,2,10],[3,1,3,4],[3,5,3,6],[3,7,3,8],[4,1,4,4],[4,5,4,6],[4,7,4,8],[5,1,5,4],[5,5,5,6],[5,7,5,8],[6,1,6,4],[6,5,6,6],[6,7,6,8],[7,1,7,4],[7,5,7,6],[7,7,7,8],[8,1,8,4],[8,5,8,6],[8,7,8,8],[9,1,9,4],[9,5,9,6],[9,7,9,8],[10,1,10,4],[10,5,10,6],[10,7,10,8],[11,1,11,4],[11,5,11,6],[11,7,11,8],[12,1,12,4],[12,5,12,6],[12,7,12,8],[13,1,13,4],[13,5,13,6],[13,7,13,8],[14,1,14,4],[14,5,14,6],[14,7,14,8],[15,1,15,4],[15,5,15,6],[15,7,15,8],[16,1,16,4],[16,5,16,6],[16,7,16,8],[17,1,17,4],[17,5,17,6],[17,7,17,8],[18,1,18,4],[18,5,18,6],[18,7,18,8],[19,1,19,4],[19,5,19,6],[19,7,19,8],[20,1,20,4],[20,5,20,6],[20,7,20,8],[21,1,21,4],[21,5,21,6],[21,7,21,8],[22,1,22,4],[22,5,22,6],[22,7,22,8],[23,1,23,4],[23,5,23,6],[23,7,23,8],[24,1,24,4],[24,5,24,6],[24,7,24,8],[25,1,25,4],[25,5,25,6],[25,7,25,8],[26,1,26,4],[26,5,26,6],[26,7,26,8],[27,1,27,4],[27,5,27,6],[27,7,27,8],[28,1,28,4],[28,5,28,6],[28,7,28,8],[29,1,29,4],[29,5,29,6],[29,7,29,8],[30,1,30,4],[30,5,30,6],[30,7,30,8],[31,1,31,4],[31,5,31,6],[31,7,31,8],[32,1,32,4],[32,5,32,6],[32,7,32,8],[33,1,33,4],[33,5,33,6],[33,7,33,8],[34,1,34,4],[34,5,34,6],[34,7,34,8],[35,1,35,4],[35,5,35,6],[35,7,35,8],[36,1,36,4],[36,5,36,6],[36,7,36,8],[37,1,37,4],[37,5,37,6],[37,7,37,8],[38,1,38,4],[38,5,38,6],[38,7,38,8],[39,1,39,4],[39,5,39,6],[39,7,39,8],[40,1,40,4],[40,5,40,6],[40,7,40,8],[41,1,41,4],[41,5,41,6],[41,7,41,8],[42,1,42,4],[42,5,42,6],[42,7,42,8],[43,1,43,4],[43,5,43,6],[43,7,43,8],[44,1,44,4],[44,5,44,6],[44,7,44,8],[45,0,45,9],[46,0,46,3],[46,4,46,5],[46,6,46,10]]}
[]
["规费、税金项目计价表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":3},"标段：",{"$nulls":3},"第  1  页  共  1  页"]
["序号","项目名称",{"$nulls":3},"计算基础",null,"计算基数",null,"计算费率(%)","金额（元）"]
["1","其他规费",{"$nulls":3},"工伤保险费+环境保护税+工程排污费"]
["1.1","工伤保险费",{"$nulls":3},"分部分项定额人工费+单价措施定额人工费",{"$nulls":3},"0.5"]
["1.2","环境保护税"]
["1.3","工程排污费"]
["2","税金",{"$nulls":3},"税前工程造价",{"$nulls":3},"10.08"]
{"$rows_empty":36}
["合    计"]
["编制人（造价人员）：",{"$nulls":5},"复核人（造价工程师）："]

{"sheet":"主要材料价格表(横)","index":6,"n_rows":63,"n_cols":12,"rows_kept":63,"merged":[[0,0,0,11],[1,0,1,7],[1,8,1,11],[2,3,2,4],[2,7,2,8],[3,3,3,4],[3,7,3,8],[4,3,4,4],[4,7,4,8],[5,3,5,4],[5,7,5,8],[6,3,6,4],[6,7,6,8],[7,3,7,4],[7,7,7,8],[8,3,8,4],[8,7,8,8],[9,3,9,4],[9,7,9,8],[10,3,10,4],[10,7,10,8],[11,3,11,4],[11,7,11,8],[12,3,12,4],[12,7,12,8],[13,3,13,4],[13,7,13,8],[14,3,14,4],[14,7,14,8],[15,3,15,4],[15,7,15,8],[16,3,16,4],[16,7,16,8],[17,3,17,4],[17,7,17,8],[18,3,18,4],[18,7,18,8],[19,3,19,4],[19,7,19,8],[20,3,20,4],[20,7,20,8],[21,3,21,4],[21,7,21,8],[22,3,22,4],[22,7,22,8],[23,3,23,4],[23,7,23,8],[24,3,24,4],[24,7,24,8],[25,0,25,11],[26,0,26,7],[26,8,26,11],[27,3,27,4],[27,7,27,8],[28,3,28,4],[28,7,28,8],[29,3,29,4],[29,7,29,8],[30,3,30,4],[30,7,30,8],[31,3,31,4],[31,7,31,8],[32,3,32,4],[32,7,32,8],[33,3,33,4],[33,7,33,8],[34,3,34,4],[34,7,34,8],[35,3,35,4],[35,7,35,8],[36,3,36,4],[36,7,36,8],[37,3,37,4],[37,7,37,8],[38,3,38,4],[38,7,38,8],[39,3,39,4],[39,7,39,8],[40,3,40,4],[40,7,40,8],[41,3,41,4],[41,7,41,8],[42,3,42,4],[42,7,42,8],[43,3,43,4],[43,7,43,8],[44,3,44,4],[44,7,44,8],[45,3,45,4],[45,7,45,8],[46,3,46,4],[46,7,46,8],[47,3,47,4],[47,7,47,8],[48,3,48,4],[48,7,48,8],[49,3,49,4],[49,7,49,8],[50,0,50,11],[51,0,51,7],[51,8,51,11],[52,3,52,4],[52,7,52,8],[53,3,53,4],[53,7,53,8],[54,3,54,4],[54,7,54,8],[55,3,55,4],[55,7,55,8],[56,3,56,4],[56,7,56,8],[57,3,57,4],[57,7,57,8],[58,3,58,4],[58,7,58,8],[59,3,59,4],[59,7,59,8],[60,3,60,4],[60,7,60,8],[61,3,61,4],[61,7,61,8],[62,3,62,4],[62,7,62,8],[63,3,63,4],[63,7,63,8],[64,3,64,4],[64,7,64,8],[65,3,65,4],[65,7,65,8],[66,3,66,4],[66,7,66,8],[67,3,67,4],[67,7,67,8],[68,3,68,4],[68,7,68,8],[69,3,69,4],[69,7,69,8],[70,3,70,4],[70,7,70,8],[71,3,71,4],[71,7,71,8],[72,3,72,4],[72,7,72,8],[73,3,73,4],[73,7,73,8],[74,3,74,4],[74,7,74,8]]}
["主要材料价格表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":7},"第 1 页   共 3 页"]
["序号","材料编码","材料名称","规格、型号等特殊要求",null,"单位","数量","单价(元)",null,"合价(元)","产地","品牌/厂家"]
[1,"0701001101@2","面砖","300*300",null,"m2"]
[2,"0701005105@1","墙面砖","400*800",null,"m2"]
[3,"0705003103","防滑地砖","800*800",null,"m2"]
[4,"补充计价材料003@1","卫生间隔断","≥20mm厚倍特板",null,"m2"]
[5,"0913001101@2","铝扣板吊顶","600*600mm",null,"m2"]
[6,"0913001101@3","铝扣板吊顶","600*600mm，防潮款",null,"m2"]
[7,"0723002100@1","强化木地板",null,null,"m2"]
[8,"1303002100","乳胶漆","内墙用",null,"kg"]
[9,"1303002200","乳胶漆","外墙用",null,"kg"]
[10,"1109008100@1","70系列铝合金隔热断桥平开窗","5+12A+5中空钢化玻璃",null,"m2"]
[11,"1109008100@2","70系列铝合金隔热断桥平开窗","5+12A+5中空磨砂钢化玻璃",null,"m2"]
[12,"1111004100@1","铝合金平开纱窗扇","304金刚纱",null,"m2"]
[13,"BCCLF20","百叶窗帘",null,null,"m2"]
[14,"1123007100@1","餐厅防盗门","甲级钢制，门扇厚度≥90mm",null,"m2"]
[15,"1103502101@1","卫生间钢制门",null,null,"m2"]
[16,"1333001100@1","4mm厚SBS改性沥青自粘卷材（聚酯胎）",null,null,"m2"]
[17,"1305038100@2","渗透结晶防水涂料",null,null,"kg"]
[18,"2906999100@1","阻燃PVC线管","DN25",null,"m"]
[19,"2906999100@2","阻燃PVC线管","DN32",null,"m"]
[20,"2803005200@2","铜芯电线","ZR-BV-4",null,"m"]
[21,"2803005200@3","铜芯电线","ZR-BV-2.5",null,"m"]
[22,"2801015100@2","超五类网线","CAT5e",null,"m"]
["主要材料价格表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":7},"第 2 页   共 3 页"]
["序号","材料编码","材料名称","规格、型号等特殊要求",null,"单位","数量","单价(元)",null,"合价(元)","产地","品牌/厂家"]
[23,"1725023100@2","PPR给水管","DN40",null,"m"]
[24,"1725023100@3","PPR给水管","DN32",null,"m"]
[25,"1725023100@4","PPR给水管","DN25",null,"m"]
[26,"1725026100@2","PVC-U排水管","DN150",null,"m"]
[27,"1725026100@3","PVC-U排水管","DN75",null,"m"]
[28,"2641005100@1","五孔插座","10A",null,"套"]
[29,"2641005100@2","USB五孔插座","10A",null,"套"]
[30,"2641005100@4","五孔插座（带防水盒）","10A",null,"套"]
[31,"2641005100@3","空调专用插座（带漏保）","16A",null,"套"]
[32,"补充计价材料004","定制电加热餐台",null,null,"组"]
[33,"5201004100@1","电加热热水器",null,null,"台"]
[34,"2145001100@1","冰热式饮水机",null,null,"套"]
[35,"补充计价材料001@1","挂壁式3匹空调（含室内、室外机）",null,null,"套"]
[36,"补充未计价材料001@1","超清智能电视屏",null,null,"套"]
[37,"BCCLF19@4","带锁落地式雨伞架",null,null,"套"]
[38,"BCCLF19","4人餐桌椅",null,null,"套"]
[39,"BCCLF19@5","单人餐桌椅",null,null,"套"]
[40,"BCCLF19@1","餐边柜",null,null,"套"]
[41,"BCCLF19@2","杂物柜",null,null,"套"]
[42,"BCCLF19@3","置物柜",null,null,"套"]
[43,"补充计价材料008","微波炉",null,null,"台"]
[44,"补充计价材料005@1","磁吸鞋柜",null,null,"套"]
["主要材料价格表"]
["工程名称：（煤改气）热动餐厅搬迁及附属设施改造",{"$nulls":7},"第 3 页   共 3 页"]
["序号","材料编码","材料名称","规格、型号等特殊要求",null,"单位","数量","单价(元)",null,"合价(元)","产地","品牌/厂家"]
[45,"补充计价材料005@3","ABS更衣柜",null,null,"套"]
[46,"补充计价材料005@2","长条凳",null,null,"套"]
[47,"2117001100@2","感应式小便斗",null,null,"个"]
[48,"2109001100@1","洗脸盆（单盆）",null,null,"个"]
[49,"2109001100@2","洗脸盆（双盆）",null,null,"个"]
[50,"2501002102@3","LED平板灯","600*600",null,"套"]
[51,"5035001100","排气风扇",null,null,"台"]
[52,"2127001100","烘手器",null,null,"个"]
[53,"2605001100@1","双联单控开关",null,null,"只"]
[54,"2605001100@2","双联单控开关",null,null,"只"]